Readme

### Overview

This script implements a classical image preprocessing pipeline for Two-Photon Laser Scanning Microscopy (2PLSM) images, aiming to generate a clean, standardized binary mask of a central dendritic structure.

The pipeline is designed for exploratory analysis and feature preprocessing, rather than fully automated segmentation. We suggest manual procedures, as automatic segmentation are not perfect.

### Processing Logic

The preprocessing follows the steps below:

- Load and normalize the input image

- Crop the central region of interest (ROI)

– Only the central portion of the image is retained to suppress peripheral background

- Median filtering

– Used to reduce photon noise while preserving thin dendritic boundaries

- Adaptive local thresholding

– Converts the smoothed image into a binary mask

- Morphological smoothing

– Opening and closing operations remove small artifacts and fill gaps

- Central connected-component selection

– Only the white component containing the image center is retained

- Resize to a fixed resolution (250 × 250)

– Ensures consistent input size for downstream analysis

Intermediate results are visualized at each step to facilitate debugging and parameter tuning.

### Important Limitations

This pipeline is NOT fully automatic.

Its performance depends strongly on input image quality and parameter choices.

Specifically:

- Thresholding parameters (e.g. block_size, offset)

must be manually tuned for different datasets or imaging conditions.

- Morphological kernel sizes may need adjustment depending on spine thickness.

- The code does not learn parameters from data and therefore cannot adapt automatically.

As a result, the segmentation quality may vary, and suboptimal results are expected without careful tuning.

### Input Requirements

To obtain reasonable results, the following conditions must be met:

- The target structure must be approximately centered in the image

  - The pipeline explicitly keeps only the connected component at the image center.

- Image orientation should be consistent

  - Images should be rotated or aligned beforehand if necessary.

- Input images should be cropped to contain a single dominant structure

  - Multiple competing foreground objects may lead to incorrect selection.

Failure to satisfy these conditions will significantly degrade performance.